## BILL OF QUANTITIES
Ontario Northland - North Bay RIP Track Facility Rehabilitation |  | H375313 | [5 empty] | H375313-1000-100-222-0001
BILL OF QUANTITIES | [9 empty] | GC = General Contractor
Item # | Line item description |  |  | Additionnal information / specification |  |  |  | Unit | Quantity | Material supplied by: | Work performed / insalled by:
1 | Construction Works
1.1 | Civil and Earthworks
1.1.1 | Preparatory works
1.1.1.001 | Clearing and grubbing | [6 empty] | m2 | 3938 | GC | GC
1.1.1.002 | Construction site organization and maintenance |  |  | Including construction and maintenance of access roads, circulation and storage areas |  |  |  | LS | 1 | GC | GC
1.1.2 | Demolition
1.1.2.001 | Asphalt removal and off site disposal | [6 empty] | LS | 1 | GC | GC
1.1.2.002 | Retaining wall demolition and off site disposal | [6 empty] | LS | 1 | GC | GC
1.1.3 | Earthworks
1.1.3.001 | Common excavation |  |  | Area: Slab on grade for the wheel storage area, including ramp |  |  |  | m3 | 498 | GC | GC
1.1.3.002 | Common excavation |  |  | Area: Foundation for light posts |  |  |  | m3 | 16.8 | GC | GC
1.1.3.003 | Common excavation |  |  | Area: Retaining wall (axle area fabric shelter) foundation |  |  |  | m3 | 46.2 | GC | GC
1.1.3.005 | Common excavation |  |  | Area: Lunchroom, washroom and emergency shower building fundation |  |  |  | m3 | 187.51 | GC | GC
1.1.3.006 | Common excavation |  |  | Area: Seacan storage container and shelter foundation |  |  |  | m3 | 268.1 | GC | GC
1.1.3.007 | Common excavation |  |  | Area: RIP track platform |  |  |  | m3 | 118 | GC | GC
1.1.3.008 | Common excavation |  |  | Area: Electrical and mechanical services buildings foundation |  |  |  | m3 | 216 | GC | GC
1.1.3.009 | Common excavation |  |  | Area: Wheel storage ramp access pathway and area around lunchroom |  |  |  | m3 | 48 | GC | GC
1.1.4 | Water Service
1.1.4.001 | 50 mm HDPE Pipes - DN50 HDPE, F 714, PE, ASTM D3350 PE4710 CL445574C, DR 7.3 |  |  | Including excavation, placement and compaction of bedding and backfill (crushed stone, non-shrink, or specialized materials such as geomembranes), installation of pipe with all required fittings and restraint systems, tie-in to existing service lines, and final backfill up to surface infrastructure level. |  |  |  | l.m. | 13 | GC | GC
1.1.5 | Sanitary sewer
1.1.5.001 | 200 mm PVC Pre-Insulated Sanitary Pipes (75mm Thick Insulation R7.14) |  |  | Including excavation, placement and compaction of bedding and backfill (crushed stone, non-shrink, or specialized materials such as geomembranes), installation of pipe with all required fittings and restraint systems, tie-in to existing service lines, and final backfill up to surface infrastructure level. |  |  |  | l.m. | 118 | GC | GC
1.1.5.002 | 200 mm PVC Non-Insulated Sanitary Pipes |  |  | Including excavation, placement and compaction of bedding and backfill (crushed stone, non-shrink, or specialized materials such as geomembranes), installation of pipe with all required fittings and restraint systems, tie-in to existing service lines, and final backfill up to surface infrastructure level. |  |  |  | l.m. | 22 | GC | GC
1.1.6 | Stormwater sewer
1.1.6.001 | 300 mm PVC Non-Insulated Storm Pipes |  |  | Including excavation, placement and compaction of bedding and backfill (crushed stone, non-shrink, or specialized materials such as geomembranes), installation of pipe with all required fittings and restraint systems, tie-in to existing service lines, and final backfill up to surface infrastructure level. |  |  |  | l.m. | 50 | GC | GC
1.1.6.002 | 200 mm PVC Pre-Insulated Storm Pipes (75mm Thick Insulation R7.14) |  |  | Including excavation, placement and compaction of bedding and backfill (crushed stone, non-shrink, or specialized materials such as geomembranes), installation of pipe with all required fittings and restraint systems, tie-in to existing service lines, and final backfill up to surface infrastructure level. |  |  |  | l.m. | 43 | GC | GC
1.1.6.003 | 100 mm PVC Pre-Insulated Condensate Pipe (50mm Thick Insulation R7.14) |  |  | Including excavation, placement and compaction of bedding and backfill (crushed stone, non-shrink, or specialized materials such as geomembranes), installation of pipe with all required fittings and restraint systems, tie-in to existing service lines, and final backfill up to surface infrastructure level. |  |  |  | l.m. | 80 | GC | GC
1.1.6.004 | Prefabricated trench drain - ACO S100K or equivalent |  |  | Including excavation, placement and compaction of bedding and backfill (crushed stone, non-shrink, or specialized materials such as geomembranes), installation of prefabricated trench drain with all required fittings and restraint systems, tie-in to existing service lines, and final backfill up to surface infrastructure level. |  |  |  | l.m. | 240 | GC | GC
1.1.6.005 | Prefabricated trench drain - ACO S200K or equivalent |  |  | Including excavation, placement and compaction of bedding and backfill (crushed stone, non-shrink, or specialized materials such as geomembranes), installation of prefabricated trench drain with all required fittings and restraint systems, tie-in to existing service lines, and final backfill up to surface infrastructure level. |  |  |  | l.m. | 20 | GC | GC
1.1.6.006 | Catch basin - ACO SK1-621D or equivalent |  |  | Includes excavation, placement and compaction of bedding and backfill, installation of precast manhole with all components (ladder, seals, risers, geomembranes/geocomposites, safety accessories), connection to new pipes, and backfill up to surface level |  |  |  | ea. | 20 | GC | GC
1.1.6.007 | Sanitary manhole - OPSD 701.030 1200mm dia. insulated - Including frame and cover |  |  | Includes excavation, placement and compaction of bedding and backfill, installation of precast manhole with all components (ladder, seals, risers, geomembranes/geocomposites, safety accessories), connection to new pipes, and backfill up to surface level |  |  |  | ea. | 4 | GC | GC
1.1.6.008 | Catch basin - OPSD 705.010 600x600mm insulated - Including frame and cover |  |  | Includes excavation, placement and compaction of bedding and backfill, installation of precast manhole with all components (ladder, seals, risers, geomembranes/geocomposites, safety accessories), connection to new pipes, and backfill up to surface level |  |  |  | ea. | 3 | GC | GC
1.1.6.009 | Relocation of existing concrete catch basin CCB-1 |  |  | Includes excavation, placement and compaction of bedding and backfill, installation of precast manhole with all components (ladder, seals, risers, geomembranes/geocomposites, safety accessories), connection to new pipes, and backfill up to surface level |  |  |  | ea. | 1 | GC | GC
1.1.6.010 | Frame and grate only for all existing catch basins - OPSD 400.010 |  |  | Proposed new grates on each catch basin - 5 in the RIP area and 1 for the CCB-1 concrete catch basin |  |  |  | ea. | 6 | GC | GC
1.1.7 | Trenches and conduits for other utilities
1.1.7.001 | Cast in place electrical duck bank with 4 conduits |  |  | Including excavation, placement and compaction of bedding and backfill (crushed stone, non-shrink, or specialized materials such as geomembranes), installation duct bank, and final backfill up to surface infrastructure level. |  |  |  | l.m. | 225 | GC | GC
1.1.8 | Erosion and sediment control
1.1.8.001 | Silt fence | [6 empty] | l.m. | 550 | GC | GC
1.1.8.002 | Inlet protection for sanitary sewer network - FILTREXX SOXX system or equivalent |  |  | Including 300mm dia. tubular sediment control and stormwater filtration device as per manufacturer's specifications |  |  |  | ea. | 6 | GC | GC
1.2 | Mechanical
1.2.1 | Demolition
1.2.1.001 | Demolition and off site disposal of existing compressed air network | [6 empty] | l.m. | 997 | GC | GC
1.2.2 | Compressed air network
1.2.2.001 | Compressed air generating system | [6 empty] | LS | 1 | GC | GC
1.2.2.002 | 50mm Carbon Steel Pipe - DN50 Pipe NPS, S-XS, B36.10M, MTE, A 106 Gr. B Seamless | [6 empty] | l.m. | 40 | GC | GC
1.2.2.003 | 50mm HDPE Pipe - DN50 HDPE, F 714, PE, ASTM D3350 PE4710 CL445574C, DR 7.3 |  |  | Including trenchwork |  |  |  | l.m. | 915 | GC | GC
1.2.2.004 | 50mm HDPE Pipe - DN50 HDPE, F 714, PE, ASTM D3350 PE4710 CL445574C, DR 7.3 |  |  | Trenchless |  |  |  | l.m. | 22 | GC | GC
1.2.2.005 | Utility post compressed air outlet | [6 empty] | ea. | 19 | GC | GC
1.3 | Electrical
1.3.1 | Demolition
1.3.1.001 | Demolition of existing 4160V overhead power lines including overhead switch and accessories | [6 empty] | LS | 1 | GC | GC
1.3.1.002 | Demolition of existing 4160V overhead cable installed on wheel shop roof (3x¤2/0AWG, 5KV) | [6 empty] | l.m. | 100 | GC | GC
1.3.1.003 | Demolition of existing electrical shack including electrical devices/conduits/cables inside | [6 empty] | LS | 1 | GC | GC
1.3.1.004 | Demolition of miscellaneous elements | [6 empty] | LS | 1 | GC | GC
1.3.1.005 | Demolition of existing three pole-mounted lighting fixtures and cables | [6 empty] | set | 3 | GC | GC
1.3.2 | Electrical cable alignment
1.3.2.001 | 2/0-3C HL TECK90 BC XLPE INS 90MIL SHLD SIA ORG JKT CSA FT45KV C22.2 |  |  | Main power cable - Cables and Grounding |  |  |  | l.m. | 345 | GC | GC
1.3.2.001 | 500-4C TECK 90 BC 1KV XLPE INS 1 #3 GRD SIA BLK PVC JKT FT4 CSA |  |  | Main power cable: (see 263-288-0002), Cables and Grounding |  |  |  | l.m. | 57.5 | GC | GC
1.3.2.001 | NEW 150A fuse for "Existing 4160V switchgear" |  |  | Modification for existing 4160V switchgear: upgrade 125A fuse to 150A fuse |  |  |  | set | 1 | GC | GC
1.3.2.001 | 4160-480/277V 750kVA transformer including 4160V load interrupter |  |  | Floor Mounted |  |  |  | ea. | 1 | GC | GC
1.3.2.001 | 480V 1200A Switchboard (2 sections) | [6 empty] | ea. | 1 | GC | GC
1.3.2.001 | 480V Distribution Panel boards | [6 empty] | ea. | 5 | GC | GC
1.3.2.001 | 208V/240V Distribution Panel boards | [6 empty] | ea. | 6 | GC | GC
1.3.2.001 | 480V manual transfer switch 300A | [6 empty] | ea. | 1 | GC | GC
1.3.2.001 | 480V 225A breaker |  |  | (225A for yard office main breaker) |  |  |  | ea. | 1 | GC | GC
1.3.2.001 | 480-208/120V 75kVA transformer |  |  | Floor Mounted |  |  |  | ea. | 1 | GC | GC
1.3.2.001 | 480-208/120V 30kVA transformer |  |  | Floor Mounted |  |  |  | ea. | 2 | GC | GC
1.3.2.001 | 480V disconnect switch 100 A |  |  | Disconnect switch to come complete with 3R enclosure |  |  |  | ea. | 1 | GC | GC
1.3.2.001 | 2/0-3C HL TECK90 BC; CROUSE HINDS TECK200-13S, 2.0" STEEL TECK CONNECTOR C/W LOCK NUT RANGE, 1.900-2.187" CSA | [6 empty] | ea. | 6 | GC | GC
1.3.2.001 | 500-4C TECK 90 BC 1KV;CROUSE HINDS TECK300-19S, WATERTIGHT CONN'OR 3"HUB TECK90/ACWU, CABLE OD2.79"-3.06" CSA | [6 empty] | ea. | 2 | GC | GC
1.3.2.001 | Terminations: 2/0-3C HL TECK90 BC | [6 empty] | ea. | 18 | GC | GC
1.3.2.001 | Terminations: 500-4C TECK 90 BC 1KV | [6 empty] | ea. | 8 | GC | GC
1.3.2.001 | Point to Point/ Meger cable testing | [6 empty] | l.m. | 403 | GC | GC
1.3.2.001 | Cable tagging | [6 empty] | l.m. | 403 | GC | GC
1.3.2.001 | Wire markers | [6 empty] | l.m. | 403 | GC | GC
1.3.2.001 | Misc. hardware | [6 empty] | lot | 1 | GC | GC
1.3.3 | Yard lighting
1.3.3.001 | Pole lighting fixtures and accessories | [6 empty] | ea. | 22 | GC | GC
1.3.3.002 | Wall pack lighting fixtures DSXW1 LED P6 40K T3M | [6 empty] | ea. | 6 | GC | GC
1.3.3.003 | Mounting of existing pole lighting fixture (DSX2 LED P2 40K 70 CRI T4M_3 - double) on new pole | [6 empty] | ea. | 1 | GC | GC
1.3.3.004 | New lighting pole - 18ft H 4inch square | [6 empty] | ea. | 10 | GC | GC
1.3.3.005 | Electrical manhole (1200mmLx1650mmWx2100mmD) | [6 empty] | ea. | 4 | GC | GC
1.3.3.006 | Uninstallation and reinstallation of existing wooden lightning pole and pole lighting fixture | [6 empty] | ea. | 2 | GC | GC
1.3.4 | Utility posts
1.3.4.001 | Utility Posts - Welding plug including disconnect switch 60 A, (c/w 3R enclosure for exterior weld plugs) |  |  | (To be mounted on exterior utility 1.2m high Utility Posts - Contractor to supply Posts) |  |  |  | ea. | 19 | GC | GC
1.3.4.002 | Utility Posts - GFCI protection 20A, 20A/120V Receptacles complete with cover |  |  | (To be mounted on exterior utility 0.5m high Utility Posts - Contractor to supply Posts) |  |  |  | ea. | 19 | GC | GC
1.3.5 | Cables, conduits and grounding
1.3.5.001 | 250-3C TECK 90 BC 1KV XLPE INS 1 #4 GRD SIA BLK PVC JKT FT4 CSA |  |  | Cables and Grounding |  |  |  | l.m. | 224.25 | GC | GC
1.3.5.002 | 4/0-4C TECK 90 BC 1KV XLPE INS 1 #4 GRD SIA BLK PVC JKT FT4 CSA |  |  | Cables and Grounding |  |  |  | l.m. | 172.5 | GC | GC
1.3.5.003 | 4/0-3C TECK 90 BC 1KV XLPE INS 1 #4 GRD SIA BLK PVC JKT FT4 CSA |  |  | Cables and Grounding |  |  |  | l.m. | 11.5 | GC | GC
1.3.5.004 | 3/0-3C TECK 90 BC 1KV XLPE INS 1 #4 GRD SIA BLK PVC JKT FT4 CSA |  |  | Cables and Grounding |  |  |  | l.m. | 11.5 | GC | GC
1.3.5.005 | 1/0-4C TECK 90 BC 1KV XLPE INS 1 #6 GRD SIA BLK PVC JKT FT4 CSA |  |  | Cables and Grounding |  |  |  | l.m. | 103.5 | GC | GC
1.3.5.006 | 1-3C TECK 90 BC 1KV XLPE INS 1 #6 GRD SIA BLK PVC JKT FT4 CSA |  |  | Cables and Grounding |  |  |  | l.m. | 23 | GC | GC
1.3.5.007 | 4-3C TECK 90 BC 1KV XLPE INS 1 #8 GRD SIA BLK PVC JKT FT4 CSA |  |  | Cables and Grounding |  |  |  | l.m. | 11.5 | GC | GC
1.3.5.008 | 3-4C TECK 90 BC 1KV XLPE INS 1 #6 GRD SIA BLK PVC JKT FT4 CSA |  |  | Cables and Grounding |  |  |  | l.m. | 34.5 | GC | GC
1.3.5.009 | 3-3C TECK 90 BC 1KV XLPE INS 1 #6 GRD SIA BLK PVC JKT FT4 CSA |  |  | Cables and Grounding |  |  |  | l.m. | 764.75 | GC | GC
1.3.5.010 | 10-3C TECK 90 BC 1KV XLPE INS 1 #12 GRD SIA BLK |  |  | Cables and Grounding |  |  |  | l.m. | 172.5 | GC | GC
1.3.5.011 | 6-1C 7 STR BC RW90 XLPE INS 90C 600V BLK CSA C22.2 NO.38 |  |  | Building wire |  |  |  | l.m. | 2875 | GC | GC
1.3.5.012 | 12-1C 7 STR BC RW90 XLPE INS 90C 600V BLK CSA C22.2 NO.38 |  |  | Building wire |  |  |  | l.m. | 5175 | GC | GC
1.3.5.013 | 250-3C TECK 90 BC 1KV; CROUSE HINDS TECK200-14S, 2.0" STEEL TECK CONNECTOR C/W LOCK NUT OD: 2.100-2.375 CSA | [6 empty] | ea. | 4 | GC | GC
1.3.5.014 | 4/0-4C TECK 90 BC 1KV; CROUSE HINDS TECK200-14S, 2.0" STEEL TECK CONNECTOR C/W LOCK NUT OD: 2.100-2.375 CSA | [6 empty] | ea. | 4 | GC | GC
1.3.5.015 | 4/0-3C TECK 90 BC 1KV; CROUSE HINDS TECK200-13S, 2.0" STEEL TECK CONNECTOR C/W LOCK NUT RANGE, 1.900-2.187" CSA | [6 empty] | ea. | 2 | GC | GC
1.3.5.016 | 3/0-3C TECK 90 BC 1KV; CROUSE HINDS TECK150-11S, 1.5" STEEL TECK CONNECTOR C/W LOCK NUT RANGE: 1.700"-1.965" CSA | [6 empty] | ea. | 2 | GC | GC
1.3.5.017 | 1/0-4C TECK 90 BC 1KV ; CROUSE HINDS TECK150-11S, 1.5" STEEL TECK CONNECTOR C/W LOCK NUT RANGE: 1.700"-1.965" CSA | [6 empty] | ea. | 2 | GC | GC
1.3.5.018 | 1-3C TECK 90 BC 1KV; CROUSE HINDS TECK100-7S, 1" STEEL TECK CONNECTOR C/W LOCK NUT RANGE: 1.187"-1.375" CSA | [6 empty] | ea. | 2 | GC | GC
1.3.5.019 | 4-3C TECK 90 BC 1KV XLPE INS 1 #8 GRD SIA BLK PVC JKT FT4 CSA | [6 empty] | ea. | 2 | GC | GC
1.3.5.020 | 3-4C TECK 90 BC 1KV; CROUSE HINDS TECK125-8S, 1.25" STEEL TECK CONNECTOR C/W LOCK NUT RANGE: 1.350"-1.625" CSA | [6 empty] | ea. | 10 | GC | GC
1.3.5.021 | 3-3C TECK 90 BC 1KV; CROUSE HINDS TECK100-7S, 1" STEEL TECK CONNECTOR C/W LOCK NUT RANGE: 1.187"-1.375" CSA | [6 empty] | ea. | 8 | GC | GC
1.3.5.022 | 10-3C TECK 90 BC 1KV; CROUSE HINDS TECK050-4S, 1/2" STEEL TECK CONNECTOR C/W LOCK NUT RANGE: 825-.985" CSA | [6 empty] | ea. | 2 | GC | GC
1.3.5.023 | Point to Point/Meger cable and wire testing | [6 empty] | l.m. | 9583 | GC | GC
1.3.5.024 | Cable and wire tagging | [6 empty] | l.m. | 9583 | GC | GC
1.3.5.025 | Cablre and wire markers | [6 empty] | l.m. | 9583 | GC | GC
1.3.5.026 | Misc. hardware | [6 empty] | lot | 1 | GC | GC
1.3.6 | Grounding
1.3.6.001 | Cables, Conduits and Grounding - Ground bus Strips complete with a cross section of 25 mm x 6 mm |  |  | Grounding |  |  |  | l.m. | 31.15 | GC | GC
1.3.6.002 | Cables, Conduits and Grounding - 4/0-1C SOFT DRAWN 19 STR BARE COPPER |  |  | Grounding Cable |  |  |  | l.m. | 81.15 | GC | GC
1.3.6.003 | Cables, Conduits and Grounding - 2/0-1C SOFT DRAWN 19 STR BARE COPPER CLASS B |  |  | Grounding Cable |  |  |  | l.m. | 201.15 | GC | GC
1.3.6.004 | Cables, Conduits and Grounding - 6-1C SOFT DRAWN 7 STR BARE COPPER |  |  | Grounding |  |  |  | l.m. | 21.15 | GC | GC
1.3.6.005 | Cables, Conduits and Grounding - Ground rod 19 mm x 3048 mm |  |  | Grounding |  |  |  | ea. | 16 | GC | GC
1.3.6.006 | Cables, Conduits and Grounding - Ground rod with inspection well |  |  | Grounding |  |  |  | ea. | 3 | GC | GC
1.3.6.007 | Cables, Conduits and Grounding - Equipment bonding connections |  |  | Contractor to list type, supply & install, and add to MTO list |  |  |  | LS | 1 | GC | GC
1.3.6.008 | Cables, Conduits and Grounding - Lighting as per drawing schedules |  |  | Contractor to list type, supply & install, and add to MTO list |  |  |  | LS | 1 | GC | GC
1.3.6.009 | Cables, Conduits and Grounding - Ground Bond connectors |  |  | Contractor to list type, supply & install, and add to MTO list |  |  |  | LS | 1 | GC | GC
1.3.6.010 | Cables, Conduits and Grounding - Equipment and Cable Tagging, Labelling |  |  | Contractor to list type, supply & install, and add to MTO list |  |  |  | LS | 1 | GC | GC
1.3.6.011 | Cables, Conduits and Grounding - Equipment testing, cable testing, megering, test reports |  |  | Contractor to add this to their scope of work |  |  |  | LS | 1 | GC | GC
1.3.6.012 | Cables, Conduits and Grounding - Misc. Components |  |  | Contractor to list type, supply & install, and add to MTO list |  |  |  | LS | 1 | GC | GC
1.4 | Structure
1.4.1 | Demolition
1.4.1.001 | Concrete demolition and off site disposal |  |  | Area: Wheel storage area |  |  |  | m3 | 176 | GC | GC
1.4.1.002 | Concrete demolition and off site disposal |  |  | Area: Lunchroom, washroom and emergency shower building fundation |  |  |  | m3 | 33.09 | GC | GC
1.4.1.003 | Concrete demolition and off site disposal |  |  | Area: Seacan storage container and shelter foundation |  |  |  | m3 | 47.35 | GC | GC
1.4.1.004 | Concrete demolition and off site disposal |  |  | Area: RIP track platform |  |  |  | m3 | 356 | GC | GC
1.4.2 | Concrete works
1.4.2.001 | Cast in place concrete - Slab on grade for the wheel storage area |  |  | Including subgrade preparation, placement and compaction of foundation layer, formwork installation/removal, concrete placement with finishing, curing, protection, and joint work |  |  |  | m3 | 272 | GC | GC
1.4.2.002 | Cast in place concrete - Foundation for light posts |  |  | Including subgrade preparation, placement and compaction of foundation layer, formwork installation/removal, concrete placement with finishing, curing, protection, and joint work |  |  |  | m3 | 19 | GC | GC
1.4.2.003 | Cast in place concrete - Retaining wall (axle area fabric shelter) foundation |  |  | Including subgrade preparation, placement and compaction of foundation layer, formwork installation/removal, concrete placement with finishing, curing, protection, and joint work |  |  |  | m3 | 59 | GC | GC
1.4.2.004 | Cast in place concrete - Ramp (concrete) |  |  | Including subgrade preparation, placement and compaction of foundation layer, formwork installation/removal, concrete placement with finishing, curing, protection, and joint work |  |  |  | m3 | 11 | GC | GC
1.4.2.005 | Cast in place concrete - Lunchroom, washroom and emergency shower building foundation |  |  | Including subgrade preparation, placement and compaction of foundation layer, formwork installation/removal, concrete placement with finishing, curing, protection, and joint work |  |  |  | m3 | 19.3 | GC | GC
1.4.2.006 | Cast in place concrete - Seacan storage container and shelter foundation. |  |  | Including subgrade preparation, placement and compaction of foundation layer, formwork installation/removal, concrete placement with finishing, curing, protection, and joint work |  |  |  | m3 | 38.5 | GC | GC
1.4.2.007 | Cast in place concrete - RIP track area platform |  |  | Including subgrade preparation, placement and compaction of foundation layer, formwork installation/removal, concrete placement with finishing, curing, protection, and joint work |  |  |  | m3 | 357 | GC | GC
1.4.2.008 | Cast in place concrete - Electrical and mechanical services buildings foundation |  |  | Including subgrade preparation, placement and compaction of foundation layer, formwork installation/removal, concrete placement with finishing, curing, protection, and joint work |  |  |  | m3 | 19.5 | GC | GC
1.4.2.009 | Cast in place concrete - Wheel storage ramp access pathway and area around lunchroom |  |  | Including subgrade preparation, placement and compaction of foundation layer, formwork installation/removal, concrete placement with finishing, curing, protection, and joint work |  |  |  | m3 | 64 | GC | GC
1.4.3 | Other Structures
1.4.3.001 | Lock-Block (Retaining Wall) (750mmx750mmx1500mm) | [6 empty] | ea. | 61 | GC | GC
1.4.3.002 | Lock-Block (Under the Axle Storage Shelter) (750mmx750mmx1500mm) | [6 empty] | ea. | 22 | GC | GC
1.4.3.003 | 1.455 m H 500mm square New Utility post as shown on DWG-230-270-0015 | [6 empty] | ea. | 19 | GC | GC
1.5 | Architecture
1.5.1 | Demolition
1.5.1.001 | RIP shack building demolition and Including off site disposal | [6 empty] | LS | 1 | GC | GC
1.5.1.002 | Electrical shack building demolition and Including off site disposal | [6 empty] | LS | 1 | GC | GC
1.5.1.003 | Existing utility post demolition and Including off site disposal | [6 empty] | ea. | 16 | GC | GC
1.5.2 | Buildings
1.5.2.001 | Lunchroom, Washroom, and Emergency Shower/Eyewash Building (Pre-fabricated modular building, 12.8 m x 3.6 m) | [6 empty] | LS | 1 | GC | GC
1.5.2.002 | Electrical and Mechanical Services Building (Pre-fabricated modular building, 17.6 m x 3.6 m) | [6 empty] | LS | 1 | GC | GC
1.5.3 | Storages
1.5.3.001 | 2 Seacan Container 40 ft (incl. door and window) with Fabric shelter (11m width x12.19m length x 5.5m height) as shown on DWG- 290-270-0003 | [6 empty] | LS | 1 | GC | GC
1.5.3.002 | Fabric shelter for axle storage area (8.93m width x 16.5m length x 6m height) | [6 empty] | LS | 1 | GC | GC
2 | Rail Works
2.1 | Track alignment
2.1.1 | Preparatory works
2.1.1.001 | Concrete Embedded Track Removal | [6 empty] | trk.m | 535 | GC | GC
2.1.1.002 | Ballast Track Removal |  |  | Including excavation 6-inch Ballast below Tie, Rail Tie and OTM Removal |  |  |  | trk.m | 34 | GC | GC
2.1.1.003 | Ballast Track Removal |  |  | Including excavation 15 inch below Tie, Rail Salvage for Reuse, 50% Ties OTM Ballast for Reuse, as shown on DWG-260-0001 |  |  |  | trk.m | 352 | GC | GC
2.1.2 | Track works
2.1.2.001 | Concrete Embedded Track |  |  | Installation of concrete embeded track - 115lbs (all track material provided by owner) |  |  |  | trk.m | 482 | Owner | GC
2.1.2.002 | Ballast Track |  |  | Installation of ballast track - 90 lbs (all track material provided by owner, along with the ballast) |  |  |  | trk.m | 375 | Owner | GC
2.1.3 | Bumping posts
2.1.3.001 | Bumping Post |  |  | New Installation on Concrete Embedded Track: Hayes Type WG or HD (or equivalent) |  |  |  | ea. | 2 | GC | GC
2.1.3.002 | Bumping Post |  |  | New Installation on Ballast Track: Hayes Type WG or HD (or equivalent) |  |  |  | ea. | 1 | GC | GC
2.1.3.003 | Bumping Post |  |  | Existing Removal, Salvage for Re-installation on Ballast Track |  |  |  | ea. | 1 | GC | GC
Date | Revision | Issue Status | Prepared By |  | Checked By | Approved By | Client Approval
2025-10-24 | C | Issued for Tender | A. Rogai |  | S. Quesnel-Nault | H. Singh | Z. Chowdhury