## COST ESTIMATE
North Bay RIP Revitalization
Pricing Schedule
ITEM | ITEM DESCRIPTION | ESTIMATED QUANTITY | UNIT | UNIT PRICE | TOTAL (CAD)
A | TOTAL ESTIMATED COSTS (DIRECT AND INDIRECT CONSTRUCTION COSTS - WITH CONTINGENCY) (C + D + E) |  |  |  | #REF!
A | DIRECT CONSTRUCTION COSTS
GC | General Conditions
G1 | PROJECT INSURANCE & BONDING | 1 | LS
G2 | PROJECT STAFF | 1 | LS
G3 | SURVEYING & LOCATES | 1 | LS
G4 | GENERAL LABOUR | 1 | LS
G5 | PROJECT SITE OFFICE & SUPPLIES | 1 | LS
G6 | SANITARY FACILITIES | 1 | LS
G7 | COMMISSIONING | 1 | LS
G8 | PROJECT SIGNAGE | 1 | LS
G9 | TEMPORARY FENCING | 1 | LS
G10 | SAFETY SUPPLIES | 1 | LS
G11 | DISPOSAL BINS - GENERAL WASTE | 1 | LS
G12 | FINAL CLEANING | 1 | LS
G13 | CLOSEOUT DOCUMENTS | 1 | LS
1 | Construction Works |  |  | niveau 1
1.1 | Civil and Earthworks |  |  | niveau 2
1.1.1 | Preparatory works |  |  | niveau 3
1.1.1.001 | Clearing and grubbing | 3938 | m2
1.1.1.002 | Construction site organization and maintenance - Including construction and maintenance of access roads, circulation and storage areas | 1 | LS
1.1.2 | Demolition
1.1.2.001 | Asphalt removal and off site disposal | 1 | LS
1.1.2.002 | Retaining wall demolition and off site disposal | 1 | LS
1.1.3 | Earthworks
1.1.3.001 | Common excavation - Area: Slab on grade for the wheel storage area, including ramp | 498 | m3
1.1.3.002 | Common excavation - Area: Foundation for light posts | 16.8 | m3
1.1.3.003 | Common excavation - Area: Retaining wall (axle area fabric shelter) foundation | 46.2 | m3
1.1.3.005 | Common excavation - Area: Lunchroom, washroom and emergency shower building fundation | 187.51 | m3
1.1.3.006 | Common excavation - Area: Seacan storage container and shelter foundation | 268.1 | m3
1.1.3.007 | Common excavation - Area: RIP track platform | 118 | m3
1.1.3.008 | Common excavation - Area: Electrical and mechanical services buildings foundation | 216 | m3
1.1.3.009 | Common excavation - Area: Wheel storage ramp access pathway and area around lunchroom | 48 | m3
1.1.4 | Water Service
1.1.4.001 | 50 mm HDPE Pipes - DN50 HDPE, F 714, PE, ASTM D3350 PE4710 CL445574C, DR 7.3 | 13 | l.m.
1.1.5 | Sanitary sewer
1.1.5.001 | 200 mm PVC Pre-Insulated Sanitary Pipes (75mm Thick Insulation R7.14) | 118 | l.m.
1.1.5.002 | 200 mm PVC Non-Insulated Sanitary Pipes | 22 | l.m.
1.1.6 | Stormwater sewer
1.1.6.001 | 300 mm PVC Non-Insulated Storm Pipes | 50 | l.m.
1.1.6.002 | 200 mm PVC Pre-Insulated Storm Pipes (75mm Thick Insulation R7.14) | 43 | l.m.
1.1.6.003 | 100 mm PVC Pre-Insulated Condensate Pipe (50mm Thick Insulation R7.14) | 80 | l.m.
1.1.6.004 | Prefabricated trench drain - ACO S100K or equivalent | 240 | l.m.
1.1.6.005 | Prefabricated trench drain - ACO S200K or equivalent | 20 | l.m.
1.1.6.006 | Catch basin - ACO SK1-621D or equivalent | 20 | ea.
1.1.6.007 | Sanitary manhole - OPSD 701.030 1200mm dia. insulated - Including frame and cover | 4 | ea.
1.1.6.008 | Catch basin - OPSD 705.010 600x600mm insulated - Including frame and cover | 3 | ea.
1.1.6.009 | Relocation of existing concrete catch basin CCB-1 | 1 | ea.
1.1.6.010 | Frame and grate only for all existing catch basins - OPSD 400.010 | 6 | ea.
1.1.7 | Trenches and conduits for other utilities
1.1.7.001 | Cast in place electrical duck bank with 4 conduits | 225 | l.m.
1.1.8 | Erosion and sediment control
1.1.8.001 | Silt fence | 550 | l.m.
1.1.8.002 | Inlet protection for sanitary sewer network - FILTREXX SOXX system or equivalent | 6 | ea.
1.1.9 | Install Labor |  | LS
1.2 | Mechanical
1.2.1 | Demolition
1.2.1.001 | Demolition and off site disposal of existing compressed air network | 997 | l.m.
1.2.2 | Compressed air network
1.2.2.001 | Compressed air generating system | 1 | LS
1.2.2.002 | 50mm Carbon Steel Pipe - DN50 Pipe NPS, S-XS, B36.10M, MTE, A 106 Gr. B Seamless | 40 | l.m.
1.2.2.003 | 50mm HDPE Pipe - DN50 HDPE, F 714, PE, ASTM D3350 PE4710 CL445574C, DR 7.3 | 915 | l.m.
1.2.2.004 | 50mm HDPE Pipe - DN50 HDPE, F 714, PE, ASTM D3350 PE4710 CL445574C, DR 7.3 | 22 | l.m.
1.2.2.005 | Utility post compressed air outlet | 19 | ea.
1.2.3 | Install Labor |  | LS
1.3 | Electrical
1.3.1 | Demolition
1.3.1.001 | Demolition of existing 4160V overhead power lines including overhead switch and accessories | 1 | LS
1.3.1.002 | Demolition of existing 4160V overhead cable installed on wheel shop roof (3x¤2/0AWG, 5KV) | 100 | l.m.
1.3.1.003 | Demolition of existing electrical shack including electrical devices/conduits/cables inside | 1 | LS
1.3.1.004 | Demolition of miscellaneous elements | 1 | LS
1.3.1.005 | Demolition of existing three pole-mounted lighting fixtures and cables | 3 | set
1.3.2 | Electrical cable alignment
1.3.2.001 | 2/0-3C HL TECK90 BC XLPE INS 90MIL SHLD SIA ORG JKT CSA FT45KV C22.2 | 345 | l.m.
1.3.2.002 | 500-4C TECK 90 BC 1KV XLPE INS 1 #3 GRD SIA BLK PVC JKT FT4 CSA | 57.5 | l.m.
1.3.2.003 | NEW 150A fuse for "Existing 4160V switchgear" | 1 | set
1.3.2.004 | 4160-480/277V 750kVA transformer including 4160V load interrupter | 1 | ea.
1.3.2.005 | 480V 1200A Switchboard (2 sections) | 1 | ea.
1.3.2.006 | 480V Distribution Panel boards | 5 | ea.
1.3.2.007 | 208V/240V Distribution Panel boards | 6 | ea.
1.3.2.008 | 480V manual transfer switch 300A | 1 | ea.
1.3.2.009 | 480V 225A breaker | 1 | ea.
1.3.2.010 | 480-208/120V 75kVA transformer | 1 | ea.
1.3.2.011 | 480-208/120V 30kVA transformer | 2 | ea.
1.3.2.012 | 480V disconnect switch 100 A | 1 | ea.
1.3.2.013 | 2/0-3C HL TECK90 BC; CROUSE HINDS TECK200-13S, 2.0" STEEL TECK CONNECTOR C/W LOCK NUT RANGE, 1.900-2.187" CSA | 6 | ea.
1.3.2.014 | 500-4C TECK 90 BC 1KV;CROUSE HINDS TECK300-19S, WATERTIGHT CONN'OR 3"HUB TECK90/ACWU, CABLE OD2.79"-3.06" CSA | 2 | ea.
1.3.2.015 | Terminations: 2/0-3C HL TECK90 BC | 18 | ea.
1.3.2.016 | Terminations: 500-4C TECK 90 BC 1KV | 8 | ea.
1.3.2.017 | Point to Point/ Meger cable testing | 403 | l.m.
1.3.2.018 | Cable tagging | 403 | l.m.
1.3.2.019 | Wire markers | 403 | l.m.
1.3.2.020 | Misc. hardware | 1 | lot
1.3.3 | Yard lighting
1.3.3.001 | Pole lighting fixtures and accessories | 22 | ea.
1.3.3.002 | Wall pack lighting fixtures DSXW1 LED P6 40K T3M | 6 | ea.
1.3.3.003 | Mounting of existing pole lighting fixture (DSX2 LED P2 40K 70 CRI T4M_3 - double) on new pole | 1 | ea.
1.3.3.004 | New lighting pole - 18ft H 4inch square | 10 | ea.
1.3.3.005 | Electrical manhole (1200mmLx1650mmWx2100mmD) | 4 | ea.
1.3.3.006 | Uninstallation and reinstallation of existing wooden lightning pole and pole lighting fixture | 2 | ea.
1.3.4 | Utility posts
1.3.4.001 | Welding plug including disconnect switch 60 A, (c/w 3R enclosure for exterior weld plugs) | 19 | ea.
1.3.4.002 | GFCI protection 20A, 20A/120V Receptacles complete with cover | 19 | ea.
1.3.5 | Cables, conduits and grounding
1.3.5.001 | 250-3C TECK 90 BC 1KV XLPE INS 1 #4 GRD SIA BLK PVC JKT FT4 CSA | 224.25 | l.m.
1.3.5.002 | 4/0-4C TECK 90 BC 1KV XLPE INS 1 #4 GRD SIA BLK PVC JKT FT4 CSA | 172.5 | l.m.
1.3.5.003 | 4/0-3C TECK 90 BC 1KV XLPE INS 1 #4 GRD SIA BLK PVC JKT FT4 CSA | 11.5 | l.m.
1.3.5.004 | 3/0-3C TECK 90 BC 1KV XLPE INS 1 #4 GRD SIA BLK PVC JKT FT4 CSA | 11.5 | l.m.
1.3.5.005 | 1/0-4C TECK 90 BC 1KV XLPE INS 1 #6 GRD SIA BLK PVC JKT FT4 CSA | 103.5 | l.m.
1.3.5.006 | 1-3C TECK 90 BC 1KV XLPE INS 1 #6 GRD SIA BLK PVC JKT FT4 CSA | 23 | l.m.
1.3.5.007 | 4-3C TECK 90 BC 1KV XLPE INS 1 #8 GRD SIA BLK PVC JKT FT4 CSA | 11.5 | l.m.
1.3.5.008 | 3-4C TECK 90 BC 1KV XLPE INS 1 #6 GRD SIA BLK PVC JKT FT4 CSA | 34.5 | l.m.
1.3.5.009 | 3-3C TECK 90 BC 1KV XLPE INS 1 #6 GRD SIA BLK PVC JKT FT4 CSA | 764.75 | l.m.
1.3.5.010 | 10-3C TECK 90 BC 1KV XLPE INS 1 #12 GRD SIA BLK | 172.5 | l.m.
1.3.5.011 | 6-1C 7 STR BC RW90 XLPE INS 90C 600V BLK CSA C22.2 NO.38 | 2875 | l.m.
1.3.5.012 | 12-1C 7 STR BC RW90 XLPE INS 90C 600V BLK CSA C22.2 NO.38 | 5175 | l.m.
1.3.5.013 | 250-3C TECK 90 BC 1KV; CROUSE HINDS TECK200-14S, 2.0" STEEL TECK CONNECTOR C/W LOCK NUT OD: 2.100-2.375 CSA | 4 | ea.
1.3.5.014 | 4/0-4C TECK 90 BC 1KV; CROUSE HINDS TECK200-14S, 2.0" STEEL TECK CONNECTOR C/W LOCK NUT OD: 2.100-2.375 CSA | 4 | ea.
1.3.5.015 | 4/0-3C TECK 90 BC 1KV; CROUSE HINDS TECK200-13S, 2.0" STEEL TECK CONNECTOR C/W LOCK NUT RANGE, 1.900-2.187" CSA | 2 | ea.
1.3.5.016 | 3/0-3C TECK 90 BC 1KV; CROUSE HINDS TECK150-11S, 1.5" STEEL TECK CONNECTOR C/W LOCK NUT RANGE: 1.700"-1.965" CSA | 2 | ea.
1.3.5.017 | 1/0-4C TECK 90 BC 1KV ; CROUSE HINDS TECK150-11S, 1.5" STEEL TECK CONNECTOR C/W LOCK NUT RANGE: 1.700"-1.965" CSA | 2 | ea.
1.3.5.018 | 1-3C TECK 90 BC 1KV; CROUSE HINDS TECK100-7S, 1" STEEL TECK CONNECTOR C/W LOCK NUT RANGE: 1.187"-1.375" CSA | 2 | ea.
1.3.5.019 | 4-3C TECK 90 BC 1KV XLPE INS 1 #8 GRD SIA BLK PVC JKT FT4 CSA | 2 | ea.
1.3.5.020 | 3-4C TECK 90 BC 1KV; CROUSE HINDS TECK125-8S, 1.25" STEEL TECK CONNECTOR C/W LOCK NUT RANGE: 1.350"-1.625" CSA | 10 | ea.
1.3.5.021 | 3-3C TECK 90 BC 1KV; CROUSE HINDS TECK100-7S, 1" STEEL TECK CONNECTOR C/W LOCK NUT RANGE: 1.187"-1.375" CSA | 8 | ea.
1.3.5.022 | 10-3C TECK 90 BC 1KV; CROUSE HINDS TECK050-4S, 1/2" STEEL TECK CONNECTOR C/W LOCK NUT RANGE: 825-.985" CSA | 2 | ea.
1.3.5.023 | Point to Point/ Meger cable and wire testing | 9583 | l.m.
1.3.5.024 | Cable and wire tagging | 9583 | l.m.
1.3.5.025 | Cablre and wire markers | 9583 | l.m.
1.3.5.026 | Misc. hardware | 1 | lot
1.3.6 | Grounding
1.3.6.001 | Ground bus Strips complete with a cross section of 25 mm x 6 mm | 31.15 | l.m.
1.3.6.002 | 4/0-1C SOFT DRAWN 19 STR BARE COPPER | 81.15 | l.m.
1.3.6.003 | 2/0-1C SOFT DRAWN 19 STR BARE COPPER CLASS B | 201.15 | l.m.
1.3.6.004 | 6-1C SOFT DRAWN 7 STR BARE COPPER | 21.15 | l.m.
1.3.6.005 | Ground rod 19 mm x 3048 mm | 16 | ea.
1.3.6.006 | Ground rod with inspection well | 3 | ea.
1.3.6.007 | Equipment bonding connections | 1 | LS
1.3.6.008 | Lighting as per drawing schedules | 1 | LS
1.3.6.009 | Ground Bond connectors | 1 | LS
1.3.6.010 | Equipment and Cable Tagging, Labelling | 1 | LS
1.3.6.011 | Equipment testing, cable testing, megering, test reports | 1 | LS
1.3.6.012 | Misc. Components | 1 | LS
1.3.7 | Install Labor |  | LS
1.4 | Structure
1.4.1 | Demolition
1.4.1.001 | Concrete demolition and off site disposal - Area: Wheel storage area | 176 | m3
1.4.1.002 | Concrete demolition and off site disposal - Area: Lunchroom, washroom and emergency shower building fundation | 33.09 | m3
1.4.1.003 | Concrete demolition and off site disposal - Area: Seacan storage container and shelter foundation | 47.35 | m3
1.4.1.004 | Concrete demolition and off site disposal - Area: RIP track platform | 356 | m3
1.4.2 | Concrete works
1.4.2.001 | Cast in place concrete - Slab on grade for the wheel storage area | 272 | m3
1.4.2.002 | Cast in place concrete - Foundation for light posts | 19 | m3
1.4.2.003 | Cast in place concrete - Retaining wall (axle area fabric shelter) foundation | 59 | m3
1.4.2.004 | Cast in place concrete - Ramp (concrete) | 11 | m3
1.4.2.005 | Cast in place concrete - Lunchroom, washroom and emergency shower building foundation | 19.3 | m3
1.4.2.006 | Cast in place concrete - Seacan storage container and shelter foundation. | 38.5 | m3
1.4.2.007 | Cast in place concrete - RIP track area platform | 357 | m3
1.4.2.008 | Cast in place concrete - Electrical and mechanical services buildings foundation | 19.5 | m3
1.4.2.009 | Cast in place concrete - Wheel storage ramp access pathway and area around lunchroom | 64 | m3
1.4.3 | Other structures
1.4.3.001 | Lock-Block (Retaining Wall) (750mmx750mmx1500mm) | 61 | ea.
1.4.3.002 | Lock-Block (Under the Axle Storage Shelter) (750mmx750mmx1500mm) | 22 | ea.
1.4.3.003 | 1.455 m H 500mm square New Utility post as shown on DWG-230-270-0015 | 19 | ea.
1.4.4 | Install Labor |  | LS
1.5 | Architecture
1.5.1 | Demolition
1.5.1.001 | RIP shack building demolition and Including off site disposal | 1 | LS
1.5.1.002 | Electrical shack building demolition and Including off site disposal | 1 | LS
1.5.1.003 | Existing utility post demolition and Including off site disposal | 16 | ea.
1.5.2 | Buildings
1.5.2.001 | Lunchroom, Washroom, and Emergency Shower/Eyewash Building (Pre-fabricated modular building, 12.8 m x 3.6 m) | 1 | LS
1.5.2.002 | Accessible RAMP for the Lunchroom | 1 | ea.
1.5.2.003 | Electrical and Mechanical Services Building (Pre-fabricated modular building, 17.6 m x 3.6 m) | 1 | LS
1.5.3 | Storages
1.5.3.001 | 2 Seacan Container 40 ft (incl. door and window) with Fabric shelter (11m width x12.19m length x 5.5m height) as shown on DWG- 290-270-0003 | 1 | LS
1.5.3.002 | Fabric shelter for axle storage area (8.93m width x 16.5m length x 6m height) | 1 | LS
1.5.4 | Install Labor |  | LS
2 | Rail Works
2.1 | Track alignment
2.1.1 | Preparatory works
2.1.1.001 | Concrete Embedded Track Removal | 535 | trk.m
2.1.1.002 | Ballast Track Removal - Including excavation 6-inch Ballast below Tie, Rail Tie and OTM Removal | 34 | trk.m
2.1.1.003 | Ballast Track Removal - Including excavation 15 inch below Tie, Rail Salvage for Reuse, 50% Ties OTM Ballast for Reuse, as shown on DWG-260-0001 | 352 | trk.m
2.1.2 | Track works
2.1.2.001 | Installation of concrete embeded track - 115lbs (all track material provided by owner) | 482 | trk.m
2.1.2.004 | Installation of ballast track - 90 lbs (all track material provided by owner, along with the ballast) | 375 | trk.m
2.1.3 | Bumping posts
2.1.3.001 | Bumping Post - New Installation on Concrete Embedded Track: Hayes Type WG or HD (or equivalent) | 2 | ea.
2.1.3.002 | Bumping Post - New Installation on Ballast Track: Hayes Type WG or HD (or equivalent) | 1 | ea.
2.1.3.003 | Bumping Post - Existing Removal, Salvage for Re-installation on Ballast Track | 1 | ea.
2.1.4 | Install Labor |  | LS
Cash Allowance | Excess Soil Management |  | lot. |  | 100000
| Allowance for replacing the underground storm & Sewer lines connected to the Cath basins listed on the drawings No# (H375313-1000-220-272-0004 H375313-1000-220-258-0001) Civil Package. |  | LS |  | 350000
Total Before Tax
HARMONIZED SALES TAX (HST) @ 13%
TOTAL w HST
Note on D30: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Hypothèse: Environ 150 m2
Note on D31: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Hypothèse: Environ 100 m
Note on C189: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Everything