## Sheet1
Proposal Form 1-A
Schedule A - Schedule of Prices
RFP 2025 091
| Submission by | _______________________________________
(Full Legal Name of Company or Individual)
| H.S.T. Number | _______________________________________
(H.S.T Number of Company or Individual)
| Description | Quantity | Unit cost | Total (CAD)
Third Floor ( Please add N/A for non applicable items)
| LED 2x2 fixtures (22EN-LD2-25-UNV-L840- -CD1-U) (A1) | 41
| LED 2x2 fixtures (22EN-LD2-34-UNV-L840- -CD1-U)(A2) | 17
| LED 1x4 fixtures (EPANL 1x4 3000LM 80CRI 40K)(A3) | 1
| LED 2x4 fixture (24EN-LD2-45-UNV-L840- -CD1-U)(A4) | 1
| Spot lights (S4303 1-2- SLM6-40-WH)(D1) | 16
Dimmers and wirings/cables/conduits
General Labour/electrician ( no of workers)
Mounting hardwares/ Suspension kits/Brackets
Drop Ceiling removal
Acoustic tiles
Tile/Grid system Installation
| Covering equipments and components | lump sump
| Patch work Miscellaneous | lump sump
| Site Supervision | lump sump
| Testing and commissioning | lump sump
Closeout documentation
Other Costs
| Total Project |  |  | 0