## Table 1
Schedule A - Schedule of Prices
RFP 2025 092
North Bay Car Shop Heating and Ventilation Upgrades
Submission by
(Full Legal Name of Company or Individual)
H.S.T. Number
(H.S.T Number of Company or Individual)
DIVISION | ELEMENT | QUANTITY UNIT |  | RATE | TOTAL
1 | General Conditions |  |  |  | 0
2 | Existing Conditions |  |  |  | 0
Electrical Removals
Acid Battery Room - RM120A - Loop 2 | Remove electrical feed for Unit Heater | 1 | allow
| Remove lighting and plugs | 1 | allow
Electrical Shop - RM116 - Loop 2 | Remove electrical feed for Unit Heater | 1 | allow
Office - RM117, Motor RM119, Stage RM118 - Loop 2 | Remove electrical feed for Unit Heater | 1 | allow
Upholstery Shop - RM126 - Loop 2 | Remove electrical feed for Unit Heater | 1 | allow
Pipe Shop - RM122 - Loop 2 | Remove electrical feed for Unit Heater | 1 | allow
Air Brake Shop RM107 - Loop 5 | Remove electrical feed for Unit Heaters | 2 | allow
Hose Shop RM108 & 108B & Corridor 109 & Mech Room 108A - Loop 5 | Remove electrical feed for Unit Heater | 1 | allow
Offices RM111A,111B, 112A, 112B, 113A - Loop 5 | Remove electrical feed for Unit Heater | 1 | allow
Day Store Room RM113 - Loop 5 | Remove electrical feed for Unit Heaters | 3 | allow
Truck Repair Area RM114 - Loop 6 | Remove electrical feed for Unit Heaters | 2 | allow
Mechanical Room - RM 210 | Remove electrical feed for Unit Heater | 1 | allow
| Remove Electrical Feed for AHU | 3 | allow
Mechanical Room RM213 - Loop 3 | Remove Electrical Feed for AHU | 1 | allow
Tin Shop & Welding, RM103 - Loop 3 | Remove electrical feed for Unit Heaters | 3 | allow
Wood Mill and B & B Room RM128 - Loop 3 | Remove electrical feed for Unit Heaters | 3 | allow
Car Repair Area RM102- Loop 3 | Remove electrical feed for Unit Heaters | 6 | allow
Car Repair Area RM102- Loop 6 | Remove electrical feed for Unit Heaters | 5 | allow
Car Repair Area RM102- Loop 4 | Remove electrical feed for Unit Heaters | 3 | allow
Women's Washroom RM203 & Stairwell No. 1 - Loop 4 | Remove electrical feed for ERC units | 2 | allow
Mechanical Room RM204 - Loop 4 | Remove electrical feed for Unit Heater | 1 | allow
| Remove Electrical feed to AHU | 1 | allow
Men's Washroom RM206 - Loop 4 | Remove electrical feed for Unit Heaters and FF unit | 3 | allow
Car Repair Area RM101 - Loop 6 | Remove electrical feed for Unit Heaters | 12 | allow
Mechanical Removals
Truck Repair Area RM114 - Loop 6 | Ducting Removals | 10 | m
| Remove existing steam lines | 25 | m
| Removal of Unit Heater | 3 | ea
Acid Battery Room - RM120A - Loop 2 | Removal of Unit Heater | 1 | ea
| Remove existing steam lines | 20 | m
Nickel Iron Alkaline Room - RM120 - Loop 2 | Ducting Removals | 5.5 | m
| Removal of Unit Heater | 1 | ea
Electrical Shop - RM116 - Loop 2 | Removal of Unit Heater | 1 | ea
| Remove existing steam lines | 6 | m
| Ducting Removals | 27 | m
Office - RM117, Motor RM119, Stage RM118 - Loop 2 | Removal of Unit Heater | 1 | ea
| Remove existing condensate recceiver & pumping unit | 1 | #
| Remove existing steam lines | 7 | m
| Ducting Removals | 2 | m
Corridor 121- Loop 2 | Remove existing steam lines | 40 | m
| Ducting Removals | 20 | m
Upholstery Shop - RM126 - Loop 2 | Removal of Unit Heater | 1 | #
| Remove existing steam lines | 8 | m
Offices RM150, 151, 152 - Loop 2 | Remove existing ERC units | 3 | ea
| Ducting Removals | 8.75 | m
Pipe Shop - RM122 - Loop 2 | Removal of Unit Heater | 1 | ea
| Remove existing steam lines | 8 | m
Tin Shop & Welding, RM103 - Loop 3 | Ducting Removals | 77.5 | m
| Remove existing steam lines | 158 | m
| Removal of Unit Heater | 3 | ea
Corridor 104 & First Aid RM105 - Loop 5 | Ducting Removals | 10 | m
Air Brake Shop RM107 - Loop 5 | Ducting Removals | 47.5 | m
| Removal of Unit Heater | 2 | ea
| Remove existing steam lines | 40 | m
Hose Shop RM108 & 108B & Corridor 109 & Mech Room 108A - Loop 5 | Ducting Removals | 36 | m
| Removal of Unit Heater | 1 | ea
| Remove existing steam lines | 30 | m
Stairwell No. 2 & RM110 - Loop 5 | Ducting Removals | 3 | m
| Remove existing steam lines | 6.5 | m
Dope RM111A - Loop 5 | Ducting Removals | 10 | m
| Remove existing steam lines | 17 | m
Offices RM111A,111B, 112A, 112B, 113A - Loop 5 | Ducting Removals | 26 | m
| Removal of Unit Heater | 1 | ea
| Remove existing steam lines | 6 | m
Laydown Welding RM112 - Loop 5 | Ducting Removals | 32 | m
| Remove existing steam lines | 24 | m
Day Store Room RM113 - Loop 5 | Ducting Removals | 20 | m
| Remove existing steam lines | 75 | m
| Removal of Unit Heater | 3 | ea
Mechanical Room - RM 210 | Ducting Removals | 24 | m
| Remove existing steam lines | 58 | m
| Removal of Unit Heater | 1 | ea
| Remove existing air handling unit | 3 | ea
Mechanical Room RM213 - Loop 3 | Ducting Removals | 22 | m
| Remove existing steam lines | 53 | m
| Remove existing air handling unit | 1 | ea
Wood Mill and B & B Room RM128 - Loop 3 | Ducting Removals | 34 | m
| Remove existing steam lines | 52 | m
| Removal of Unit Heater | 3 | ea
Car Repair Area RM102- Loop 3 | Remove existing steam lines | 123 | m
| Removal of Unit Heater | 6 | ea
Car Repair Area RM102- Loop 6 | Remove existing steam lines | 115.5 | m
| Removal of Unit Heater | 5 | ea
Car Repair Area RM102- Loop 4 | Remove existing steam lines | 100.8 | m
| Removal of Unit Heater | 3 | ea
Rooms 201, 202, 203A - Loop 4 | Ducting Removals | 11 | m
Women's Washroom RM203 & Stairwell No. 1 - Loop 4 | Ducting Removals | 36.5 | m
| Remove existing ERC units | 1 | ea
Mechanical Room RM204 - Loop 4 | Ducting Removals | 11 | m
| Remove existing steam lines | 32 | m
| Removal of Unit Heater | 1 | ea
Remove existing air handling unit
Men's Washroom RM206 - Loop 4 | Remove existing steam lines | 40 | m
| Ducting Removals | 64 | m
| Removal of Unit Heater | 2 | ea
| Removal of Force Flow Unit | 1 | ea
Lunch Room RM208 & Stairwell No. 3 - Loop 4 | Ducting Removals | 28 | m
Car Repair Area RM101 - Loop 6 | Remove existing steam lines | 269 | m
| Removal of Unit Heater | 12 | ea
Roof Penetrations
| Roof Openings | 20 | #
| Wall Penetrations Ducting | 1 | allow
| Temporary Protection of Openings | 1 | allow
Office Removals
| Ceiling Removals | 1 | allow
3 | Concrete |  |  |  | 0
MAU Platform Foundations
| Formwork | 24 | m2
| Concrete | 16 | m3
| Reinforcing Steel | 1150 | kgs
| Concrete Finishng | 40 | m2
| Anchor Bolts | 16 | #
| Grout Base Plates | 4 | #
Misc. Concrete Items
| Curbs | 1 | allow
4 | Masonry |  |  |  | 0
| Patch Existing Openings & Infill | 1 | allow
5 | Metals |  |  |  | 0
| Structural Steel Reinforcing (New Roof Openings) | 5700 | kgs
| Structural Steel AHU Platform (including Stairs & Handrails) | 3500 | kgs
| Structural steel for 2nd floor openings supports | 385 | kgs
| Structural steel for roll up door | 150 | kgs
6 | Wood, Plastics and Composites |  |  |  | 0
7 | Thermal and Moisture Protection |  |  |  | 0
| Roof Curbs (New Roof Openings) | 3 | #
| Roof Access Hatches | 2 | #
8 | Openings |  |  |  | 0
9 | Finishes |  |  |  | 0
| Suspended Gypsum Board Ceiling c/w Paint Finish | 140 | m2
RM 108A, 117, 108B, 111A, 111B, 112A, 112B, 113A, 150, 151, 152 | Vinyl Flooring
10 | Specialities |  |  |  | 0
11 | Equipment |  |  |  | 0
| Fall Arrest Anchors | 6 | #
| Fire Damper | 32 | ea
21 | Fire Suppression |  |  |  | 0
| Relocation Sprinklers Allowance | 1 | allow
22 | Plumbing |  |  |  | 0
| Plumbing Allowance | 1 | allow
23 | Heating, Ventilation, and Air Conditioning |  |  |  | 0
Truck Repair Area - RM114 | 20" dia. ducting | 9.8 | m
| Material Grilles & Diffusers Under 914mm | 2 | ea
| Glycol 2'' dia. - insulated | 41.5 | m
| Glycol 1-1/2'' dia. - insulated | 5.5 | m
| Glycol 1-1/4'' dia. - insulated | 9.8 | m
| Unit Heater UH-4.x | 1 | ea
| Unit Heater UH-5.x | 1 | ea
| Unit Heater UH-6.x | 1 | ea
| 34”x32” ducting | 9.1 | m
| 46”x26” ducting | 2.4 | m
Acid Battery Room - RM120A - Loop 2 | Glycol 1-1/4'' dia. - insulated | 15.5 | m
| Unit Heater UH-3.x | 1 | ea
| Exhaust Fan EF-5.X | 1 | ea
| Louver LU-6 | 1 | ea
| Viessmann Vitocrossal 200 CI2 2000 | 3 | ea
| Boiler installtion | 3 | ea
| Glycol 2-1/2'' dia. - insulated | 19.8 | m
| Glycol 2'' dia. - insulated | 22.3 | m
| Glycol 4'' dia. - insulated | 18.3 | m
| Glycol 3'' dia. - insulated | 18.9 | m
| Glycol 6'' dia. - insulated | 20.4 | m
| Boiler Pumps | 3 | ea
| Hydraulic Separator | 1 | ea
| Glycol Circulation Pumps | 6 | ea
Nickel Iron Alkaline Room - RM120 - Loop 2 | Glycol 3/4'' dia. - insulated | 25 | m
| Unit Heater UH-2.X | 1 | ea
| Force Flow FF-2.X | 1 | ea
| 14" dia. ducting | 5.2 | m
| 18" dia. ducting | 4 | m
| Material Grilles & Diffusers Under 914mm | 2 | ea
| Destratification Fan | 1 | ea
Electrical Shop - RM116 - Loop 2 | Glycol 3/4'' dia. - insulated | 15.8 | m
| Unit Heater UH-1.x | 1 | ea
| 18" dia. ducting | 9.8 | m
| 20" dia. ducting | 7 | m
| 22" dia. ducting | 5.8 | m
| Material Grilles & Diffusers Under 914mm | 6 | ea
| Material Grilles & Diffusers Over 914mm | 2 | ea
| Destratification Fan | 1 | ea
Office - RM117 - Loop 2 | Wall-Fin WF-1.X | 1 | ea
| 36”x24” ducting | 2.4 | m
| Material Grilles & Diffusers Over 914mm | 1 | ea
| AC-2.X | 1 | ea
Corridor 121- Loop 2 | Glycol 2'' dia. - insulated | 27.4 | m
| Glycol 1-1/2'' dia. - insulated | 16.2 | m
| Unit Heater UH-2.X | 1 | ea
| 12" dia. ducting | 4.3 | m
| 14" dia. ducting | 4 | m
| 16" dia. ducting | 18 | m
| 36”x24” ducting | 4.9 | m
| Material Grilles & Diffusers Under 914mm | 3 | ea
Upholstery Shop - RM126 - Loop 2 | Glycol 1'' dia. - insulated | 13.4 | m
| Unit Heater UH-2.X | 1 | ea
| 10" dia. ducting | 4.3 | m
| 12" dia. ducting | 4 | m
| Material Grilles & Diffusers Under 914mm | 2 | ea
| AC-1.X | 1 | ea
Offices RM150, 151,152 - Loop 2 | Glycol 3/4'' dia. - insulated | 18.9 | m
| Wall-Fin WF-1.X | 3 | ea
| 8" dia. ducting | 31 | ea
| Office Grilles & Diffusers Return | 3 | ea
| AC-2.X | 3 | ea
IT Office - RM122 - Loop 2 | Glycol 3/4'' dia. - insulated | 10.4 | m
| Unit Heater UH-1.x | 1 | ea
| 12" dia. ducting | 6.4 | m
| 24”x16” ducting | 4.6 | m
| 36”x30” ducting | 6.1 | m
| Material Grilles & Diffusers Under 914mm | 4 | ea
| Material Grilles & Diffusers Over 914mm | 2 | ea
| Destratification Fan | 1 | ea
| AC-3.X | 1 | ea
Tin Shop & Welding - RM103 | Glycol 2-1/2'' dia. - insulated | 54.9 | m
| Glycol 2'' dia. - insulated | 34.1 | m
| Glycol 1-1/2'' dia. - insulated | 4.9 | m
| Glycol 1-1/4'' dia. - insulated | 80.8 | m
| Glycol 4'' dia. - insulated | 70.7 | m
| Unit Heater UH-6.x | 1 | ea
| Unit Heater UH-4.x | 5 | ea
| 12" dia. ducting | 18.6 | m
| 18" dia. ducting | 5.4 | m
| 22" dia. ducting | 6 | m
| 26" dia. ducting | 6.4 | m
| 28" dia. ducting | 3.3 | m
| 30" dia. ducting | 6.8 | m
| 34" dia. ducting | 32.6 | m
| 36”x32” ducting | 15.2 | m
| 32”x30” ducting | 4.9 | m
| 34”x34” ducting | 8.2 | m
| Material Grilles & Diffusers Over 914mm | 16 | ea
Wood Mill and B & B Room RM128 - Loop 3 | Glycol 2'' dia. - insulated | 32.9 | m
| Glycol 1-1/2'' dia. - insulated | 46.3 | m
| Unit Heater UH-6.x | 3 | ea
| 34”x32” ducting | 2.7 | m
| Destratification Fan | 4 | ea
| 10" dia. ducting | 6.4 | m
| 14" dia. ducting | 7.6 | m
| 16" dia. ducting | 7.3 | m
| 18" dia. ducting | 14.3 | m
| Material Grilles & Diffusers Under 914mm | 4 | ea
| 38”x30” ducting | 3 | m
| 34”x32” ducting | 14.6 | m
Car Repair Area - 102 | 18" dia. ducting | 7.6 | m
| 20" dia. ducting | 7.9 | m
| 24" dia. ducting | 9.1 | m
| 26" dia. ducting | 7.3 | m
| 28" dia. ducting | 7.9 | m
| 30" dia. ducting | 20.1 | m
| 32" dia. ducting | 5.5 | m
| 34" dia. ducting | 23.8 | m
| 32”x32” ducting | 2.1 | m
| 34”x32” ducting | 2.4 | m
| Material Grilles & Diffusers Over 914mm | 11 | ea
Corridor 104 & First Aid RM105 - Loop 5 | Glycol 3'' dia. - insulated | 29.9 | m
| Glycol 3/4'' dia. - insulated | 6.7 | m
| Unit Heater UH-1.x | 1 | ea
| Wall-Fin WF-1.X | 1.8 | m
Air Brake Shop RM107 - Loop 5 | Glycol 3'' dia. - insulated | 31.7 | m
| Glycol 3/4'' dia. - insulated | 5.5 | m
| Unit Heater UH-1.x | 1 | ea
| 16”x14” ducting | 0 | m
| 24”x14” ducting | 0 | m
| 24”x20” ducting | 7.4 | m
| 20”x14” ducting | 4.6 | m
| 54”x26” ducting | 6.1 | m
| Material Grilles & Diffusers Under 914mm | 3 | ea
| Material Grilles & Diffusers Over 914mm | 2 | ea
Hose Shop RM108 & 108B & Corridor 109 & Mech Room 108A - Loop 5 | Glycol 3'' dia. - insulated | 20.7 | m
| Glycol 2-1/2'' dia. - insulated | 4.3 | m
| Glycol 2'' dia. - insulated | 9.1 | m
| Unit Heater UH-1.x | 2 | ea
| Engineered Air Make-up Air Unit MUA-1 | 0 | ea
| 6" dia. ducting | 4.3 | m
| 8" dia. ducting | 1.2 | m
| 24”x18” ducting | 8.5 | m
| 36”x20” ducting | 0 | m
| 46”x24” ducting | 7.3 | m
| 40”x24” ducting | 9.4 | m
| 34”x24” ducting | 4.6 | m
| Material Grilles & Diffusers Over 914mm | 3 | ea
Stairwell No. 2 & RM110 - Loop 5 | Glycol 2'' dia. - insulated | 17.7 | m
| Force Flow FF-2.X | 1 | ea
| 34”x24” ducting | 2.7 | m
Dope RM111A - Loop 5 | Glycol 2'' dia. - insulated | 18.3 | m
| Glycol 3/4'' dia. - insulated | 4.9 | m
| Unit Heater UH-1.x | 1 | ea
| 8" dia. ducting | 7 | m
| 34”x24” ducting | 2.4 | m
Offices RM111A,111B, 112A, 112B, 113A, 113B, 114A, 114B, 117,150,151, 152 - Loop 5 | Glycol 3/4'' dia. - insulated | 28.3 | m
| Wall-Fin WF-1.X | 4.6 | m
| 6" dia. ducting | 14.3 | m
| 8" dia. ducting | 3 | m
| 10" dia. ducting | 2.7 | m
| 18" dia. ducting | 7.3 | m
| Material Grilles & Diffusers Over 914mm | 1 | ea
| Material Grilles & Diffusers Under 914mm | 1 | ea
| Office Grilles & Diffusers Return | 10 | ea
| 24”x20” ducting | 4.9 | m
| 34”x24” ducting | 8.5 | m
| AC-2.X | 12 | ea
Laydown Welding RM112 - Loop 5 | Glycol 1-1/2'' dia. - insulated | 22.6 | m
| Glycol 3/4'' dia. - insulated | 4.9 | m
| Unit Heater UH-1.x | 1 | ea
| 10" dia. ducting | 13.4 | m
| 12" dia. ducting | 8.8 | m
| 20”x14” ducting | 7.3 | m
| 24”x20” ducting | 2.4 | m
| Material Grilles & Diffusers Under 914mm | 2 | ea
| Material Grilles & Diffusers Over 914mm | 2 | ea
Day Store Room RM113 - Loop 5 | Glycol 1-1/2'' dia. - insulated | 45.7 | m
| Glycol 1-1/4'' dia. - insulated | 14.6 | m
| Glycol 1'' dia. - insulated | 9.4 | m
| Glycol 3/4'' dia. - insulated | 20.1 | m
| Unit Heater UH-3.X | 1 | ea
| Unit Heater UH-1.x | 2 | ea
| Force Flow FF-2.X | 0.9 | m
| Air Recovery Ventilation Unit ERV-6 | 1 | ea
| 6" dia. ducting | 5.5 | m
| 12" dia. ducting | 7.6 | m
| 14" dia. ducting | 18 | m
| 18" dia. ducting | 32.6 | m
| Material Grilles & Diffusers Under 914mm | 8 | ea
| Office Grilles & Diffusers Return | 2 | ea
| Louver LU-4 | 1 | ea
| Louver LU-5 | 1 | ea
Mezzanine floor above offices - Loop 2 | Glycol 1-1/2'' dia. - insulated | 7.3 | m
| Energy Recovery Ventilation Unit ERV-1 | 1 | ea
| 6" dia. ducting | 7.3 | m
| 8" dia. ducting | 0.9 | m
| 16" dia. ducting | 1.5 | m
| 20" dia. ducting | 5.2 | m
| 22" dia. ducting | 16.5 | m
Mechanical Room - RM 210 | Unit Heater UH-2.X | 1 | ea
| 22" dia. ducting | 3 | m
| 46”x26” ducting | 1.8 | m
| Exhaust Fan EF-2.X | 1 | ea
| Energy Recovery Ventilation Unit EVR-4 | 1 | ea
Mechanical Room RM213 - Loop 3 | Glycol 4'' dia. - insulated | 6.1 | m
| Glycol 3'' dia. - insulated | 25.6 | m
| Glycol 2-1/2'' dia. - insulated | 20.7 | m
| Glycol 1-1/2'' dia. - insulated | 6.7 | m
| Glycol 1'' dia. - insulated | 4.9 | m
| Unit Heater UH-3.X | 1 | ea
| Energy Recovery Ventilation Unit ERV-2 | 1 | ea
| Energy Recovery Ventilation Unit ERV-3 | 1 | ea
| Energy Recovery Ventilation Unit ERV-5 | 1 | ea
| 18" dia. ducting | 9.4 | m
| 38”x30” ducting | 17.1 | m
| Exhaust Fan EF-2.X | 1 | ea
| Louver LU-1 | 1 | ea
| Louver LU-2 | 1 | ea
| Louver LU-3 | 1 | ea
Car Repair Area RM102- Loop 3 | Glycol 3'' dia. - insulated | 39.6 | m
| Glycol 2-1/2'' dia. - insulated | 9.1 | m
| Glycol 2'' dia. - insulated | 37.8 | m
| Glycol 1-1/2'' dia. - insulated | 48.5 | m
| Unit Heater UH-6.x | 3 | ea
| Unit Heater UH-5.x | 2 | ea
| 32”x32” ducting | 17.7 | m
Car Repair Area RM102- Loop 6 | Glycol 6'' dia. - insulated | 51.2 | m
| Glycol 4'' dia. - insulated | 28.7 | m
| Glycol 1-1/2'' dia. - insulated | 31.7 | m
| Glycol 1-1/4'' dia. - insulated | 49.4 | m
| Unit Heater UH-6.x | 2 | ea
| Unit Heater UH-5.x | 2 | ea
| Unit Heater UH-4.x | 1 | ea
| 18" dia. ducting | 4 | m
| 24" dia. ducting | 5.5 | m
| 28" dia. ducting | 5.8 | m
| 30" dia. ducting | 5.8 | m
| 34" dia. ducting | 6.7 | m
| 34”x34” ducting | 6.7 | m
| 34”x32” ducting | 18.9 | m
| Material Grilles & Diffusers Over 914mm | 6 | ea
Car Repair Area RM102- Loop 5 | Glycol 3'' dia. - insulated | 87.8 | m
Car Repair Area RM102- Loop 4 | Glycol 3'' dia. - insulated | 64.6 | m
| Glycol 2-1/2'' dia. - insulated | 11 | m
| Glycol 2'' dia. - insulated | 39 | m
| Glycol 1-1/2'' dia. - insulated | 45.1 | m
| Glycol 1-1/4'' dia. - insulated | 17.7 | m
| Unit Heater UH-6.x | 1 | ea
| Unit Heater UH-4.x | 1 | ea
Mechanical Room RM204 - Loop 4 | Glycol 2'' dia. - insulated | 7.3 | m
| Glycol 1-1/4'' dia. - insulated | 20.7 | m
| Glycol 1'' dia. - insulated | 7.9 | m
| Glycol 3/4'' dia. - insulated | 16.5 | m
| Unit Heater UH-2.X | 1 | ea
| Energy Recovery Ventilation Unit ERV-7 | 1 | ea
| Air Recovery Ventilation Unit ERV-8 | 1 | ea
| Unit Heater UH-2.x | 1 | ea
| 10" dia. ducting | 2.4 | m
| 22" dia. ducting | 2.7 | m
| 16”x12” ducting | 3.7 | m
| 50”x28” ducting | 3.7 | m
| 40”x26” ducting | 3 | m
| Exhaust Fan EF-3.X | 1 | ea
Women's Washroom RM203 & Stairwell No. 1 - Loop 4 | Glycol 3/4'' dia. - insulated | 54.9 | m
| Force Flow FF-3.X | 1 | ea
| 8" dia. ducting | 12.2 | m
| 12" dia. ducting | 3.4 | m
| 16”x12” ducting | 13.4 | m
| Material Grilles & Diffusers Under 914mm | 6 | ea
Rooms 201, 202, 203A - Loop 4 | Glycol 3/4'' dia. - insulated | 20.7 | m
| Wall-Fin WF-1.X | 1.8 | m
| 6" dia. ducting | 1.5 | m
| 8" dia. ducting | 7.9 | m
| 12" dia. ducting | 0.9 | m
| Material Grilles & Diffusers Under 914mm | 2 | ea
| Exhaust Fan EF-6.X | 1 | ea
Men's Washroom RM206 - Loop 4 | Glycol 1'' dia. - insulated | 22.6 | m
| Glycol 3/4'' dia. - insulated | 22.6 | m
| Unit Heater UH-2.x | 1 | ea
| Unit Heater UH-1.x | 1 | ea
| Force Flow FF-3.X | 1 | ea
| Force Flow FF-1.X | 1 | ea
| 6" dia. ducting | 29.3 | m
| 8" dia. ducting | 34.1 | m
| 14" dia. ducting | 7.6 | m
| 16" dia. ducting | 7.6 | m
| 18" dia. ducting | 18.3 | m
| 20" dia. ducting | 25.3 | m
| 22" dia. ducting | 24.4 | m
| Material Grilles & Diffusers Under 914mm | 6 | ea
Lunch Room RM208 & Stairwell No. 3 - Loop 4 | Glycol 1-1/4'' dia. - insulated | 20.1 | m
| Glycol 3/4'' dia. - insulated | 44.5 | m
| Force Flow FF-2.X | 1 | ea
| Fan Coil FC-1 | 1 | ea
| 10" dia. ducting | 13.7 | m
| 12" dia. ducting | 25 | m
| 14" dia. ducting | 4.3 | m
| 18" dia. ducting | 9.1 | m
| Material Grilles & Diffusers Under 914mm | 6 | ea
| Fan Coil FC-1 | 1 | ea
| AC-1.X | 4 | ea
Car Repair Area RM101 - Loop 6 | Glycol 4'' dia. - insulated | 72.5 | m
| Glycol 3'' dia. - insulated | 86.6 | m
| Glycol 2-1/2'' dia. - insulated | 11 | m
| Glycol 2'' dia. - insulated | 11.6 | m
| Glycol 1-1/2'' dia. - insulated | 98.5 | m
| Glycol 1-1/4'' dia. - insulated | 34.1 | m
| Unit Heater UH-6.x | 7 | ea
| Unit Heater UH-5.x | 4 | ea
| Unit Heater UH-4.x | 1 | ea
| 16" dia. ducting | 23.2 | m
| 20" dia. ducting | 15.2 | m
| 22" dia. ducting | 7.6 | m
| 24" dia. ducting | 11 | m
| 26" dia. ducting | 43.6 | m
| Material Grilles & Diffusers Over 914mm | 4 | ea
| Material Grilles & Diffusers Under 914mm | 5 | ea
Misc
| Glycol Drums 45 Gallon | 20 | allow
| Glycol Drums 45 Gallon | 20 | allow
| Glycol Drums 45 Gallon | 25 | allow
| Hangers | 1 | allow
| Hangers | 1 | allow
| Hangers | 1 | allow
| Access Platforms | 1 | allow
| Access Platforms | 1 | allow
| Access Platforms | 1 | allow
| Gooseneck with Motorized Damper (26 x 18) | 2 | ea
| Gooseneck with Motorized Damper (34 x 40) | 2 | ea
| Gooseneck with Motorized Damper (26 x 26) | 1 | ea
| Gooseneck with Motorized Damper (22 x 20) | 3 | ea
| Gooseneck with Motorized Damper (36 x 36) | 4 | ea
| Gooseneck with Motorized Damper (16 x 16) | 2 | ea
| Gooseneck with Motorized Damper (40 x 38) | 2 | ea
| Gooseneck with Motorized Damper (20 x 16) | 1 | ea
| Backdraft Damper | 22 | ea
25 | Integrated Automation |  |  |  | 0
| BAS Controls | 1 | allow
| BAS Controls | 1 | allow
| BAS Controls | 1 | allow
26 | Electrical |  |  |  | 0
Truck Repair Area - RM114 | CO/No2 Alarm tie in to Fire Alarm | 1 | ea
Acid Battery Room - RM120A - Loop 2 | Unit Heater UH-3.x Connection/Wiring, Disconnects, breaker | 1 | ea
| EF-5 Connection/Wiring, Disconnects, breaker | 1 | ea
| LU-6 Connection/Wiring | 1 | ea
| Connection of boilers and primary loop pumps from local LP | 3 | ea
| 480 V, 3P, 200A Distribution Panel and Installation, 72 CCT | 1 | ea
| 120/208 V, 3P, 200A Lighting Panel and Installation, 72 CCT | 1 | ea
| 480V MCC Fused Disconnect + Feeder to new DP | 1 | allow
| 208V, 3P feeder breaker and feeder to new LP | 1 | allow
| 1x4' LED strip lighting and installation | 8 | ea
| nPODMA LED dimmer and installation | 2 | ea
| GFCI Convience Receptacles, 20A 1P breakers, wiring, install | 6 | ea
Nickel Iron Alkaline Room - RM120 - Loop 2 | Destratification Fan, 1P breaker, wiring, installation | 1 | ea
| Unit Heater UH-2.X, 1P breaker, wiring, installation | 1 | ea
| Force Flow - FF-2.X, 1P breaker, wiring, installation | 1 | ea
Electrical Shop - RM116 - Loop 2 | Destratification Fan, 1P breaker, wiring, installation | 1 | ea
| Unit Heater UH-1.x, 1P breaker, wiring, installation | 1 | ea
Office - RM117 - Loop 2 | Unit Heater, 1P breaker, wiring, installation | 1 | ea
| AC-2.4, 2P breaker, wiring, installation, disconnect | 1 | ea
Corridor 121- Loop 2 | Unit Heater UH-2.X, 1P breaker, wiring, installation | 1 | ea
Upholstery Shop - RM126 - Loop 2 | Unit Heater UH-2.X, 1P breaker, wiring, installation | 1 | ea
| AC-1.X, 2P breaker, wiring, installation, disconnect | 1 | ea
Offices RM150, 151, 152 - Loop 2 | Unit Heater UH-X, 1P breaker, wiring, installation | 3 | ea
| AC-2.X, 2P breaker, wiring, installation, disconnect | 3 | ea
Pipe Shop - RM122 - Loop 2 | Destratification Fan, 1P breaker, wiring, installation | 1 | ea
| Unit Heater UH-1.x, 1P breaker, wiring, installation | 1 | ea
Tin Shop & Welding - RM103 | CO/No2, connection, wiring | 4 | ea
Car Repair Area - 102 | CO/No2, connection, wiring | 4 | ea
Corridor 104 & First Aid RM105 - Loop 5 | Unit Heater UH-1.x, 1P breaker, wiring, installation | 1 | ea
Air Brake Shop RM107 - Loop 5 | Unit Heater UH-1.x, 1P breaker, wiring, installation | 1 | ea
Hose Shop RM108 & 108B & Corridor 109 & Mech Room 108A - Loop 5 | Unit Heaters UH-1.x, 1P breaker, wiring, installation | 2 | ea
| MUA-1, 3P breaker, wiring, installation, disconnect | 1 | ea
| 480 V, 3P, 200A Distribution Panel and Installation, 72 CCT | 1 | ea
| 120/208 V, 3P, 200A Lighting Panel and Installation, 72 CCT | 1 | ea
| 480V MCC Fused Disconnect + Feeder to new DP | 1 | allow
| 208V, 3P feeder breaker and feeder to new LP | 1 | allow
| 1x4' LED strip lighting and installation | 8 | ea
| nPODMA LED dimmer and installation | 2 | ea
| GFCI Convience Receptacles, 20A 1P breakers, wiring, install | 6 | ea
Stairwell No. 2 & RM110 - Loop 5 | Force Flow - FF-2.X, 1P breaker, wiring, installation | 1 | ea
Dope RM111A - Loop 5 | Unit Heater UH-1.x, 1P breaker, wiring, installation | 1 | ea
Offices RM111A,111B, 112A, 112B, 113A - Loop 5 | AC-2.X, 2P breaker, wiring, installation, disconnect | 3 | ea
Laydown Welding RM112 - Loop 5 | Unit Heater UH-1.x, 1P breaker, wiring, installation | 1 | ea
Day Store Room RM113 - Loop 5 | Unit Heater UH-1.x, 1P breaker, wiring, installation | 2 | ea
| Unit Heater UH-3.x, 1P breaker, wiring, installation | 1 | ea
| Force Flow - FF-2.X, 1P breaker, wiring, installation | 3 | ea
| AC-2.X, 2P breaker, wiring, installation, disconnect | 1 | ea
| LU-4,LU-5 Connection/Wiring | 2 | ea
| ERV-6, 3P breaker, wiring, installation, disconnect | 1 | ea
Mezzanine floor above offices - Loop 2 | ERV-1, 3P breaker, wiring, installation, disconnect | 1 | ea
Truck Repair Area RM114 - Loop 6 | Unit Heater UH-4,5,6.x, 1P breaker, wiring, installation | 3 | ea
Mechanical Room - RM 210 | UH-2.X, 1P breaker, wiring, installation | 1 | ea
| Glycol Circulation Pumps - SP-1 to 8, 1P breaker, wiring, installation | 8 | ea
| Connection of boilers and primary loop pumps from local LP | 3 | ea
| EF-2.X, 1P breaker, wiring, installation | 1 | ea
| ERV-4, 3P breaker, wiring, installation, disconnect | 1 | ea
| 480 V, 3P, 200A Distribution Panel and Installation, 72 CCT | 1 | ea
| 120/208 V, 3P, 200A Lighting Panel and Installation, 72 CCT | 1 | ea
| 480V MCC Fused Disconnect + Feeder to new DP | 1 | allow
| 208V, 3P feeder breaker and feeder to new LP | 1 | allow
| 1x4' LED strip lighting and installation | 8 | ea
| nPODMA LED dimmer and installation | 2 | ea
| GFCI Convience Receptacles, 20A 1P breakers, wiring, install | 6 | ea
Tin Shop & Welding RM103 - Loop 1 | UH-4.X, 1P breaker, wiring, installation | 4 | ea
Tin Shop & Welding RM103 - Section of Loop 1 to be included in Loop 3 | UH-4,6.X, 1P breaker, wiring, installation | 2 | ea
Wood Mill and B & B Room RM128 - Loop 3 | UH-6.X, 1P breaker, wiring, installation | 3 | ea
| CO/No2, connection, wiring | 1 | ea
| Destratification Fan, 1P breaker, wiring, installation | 4 | ea
Tin Shop & Welding, RM103 - Loop 3
Mechanical Room RM213 - Loop 3 | UH-3.X, 1P breaker, wiring, installation | 1 | ea
| ERV-2,3,5, 3P breaker, wiring, installation, disconnect | 3 | ea
| EF-2.X, 1P breaker, wiring, installation | 1 | ea
| LU-1 to 3, Connection/Wiring | 3 | ea
| 480 V, 3P, 200A Distribution Panel and Installation, 72 CCT | 1 | ea
| 120/208 V, 3P, 200A Lighting Panel and Installation, 72 CCT | 1 | ea
| 480V MCC Fused Disconnect + Feeder to new DP | 1 | allow
| 208V, 3P feeder breaker and feeder to new LP | 1 | allow
| 1x4' LED strip lighting and installation | 8 | ea
| nPODMA LED dimmer and installation | 2 | ea
| GFCI Convience Receptacles, 20A 1P breakers, wiring, install | 6 | ea
Car Repair Area RM102- Loop 3 | UH-5,6, 1P breaker, wiring, installation | 5 | ea
Car Repair Area RM102- Loop 5 | UH-4,5,6, 1P breaker, wiring, installation | 5 | ea
Car Repair Area RM102- Loop 4 | UH-4,6, 1P breaker, wiring, installation | 2 | ea
Mechanical Room RM204 - Loop 4 | UH-2.X, 1P breaker, wiring, installation | 2 | ea
| ERV-7,8, 3P breaker, wiring, installation, disconnect | 2 | ea
| Duct heat (PHC,RHC), 3P breaker, wiring, installation, disconnect | 2 | ea
| EF-3, 1P breaker, wiring, installation | 1 | ea
| Relocate existing DHW tanks (3), disconnect, reconnect | 3 | allow
| 480 V, 3P, 200A Distribution Panel and Installation, 72 CCT | 1 | ea
| 120/208 V, 3P, 200A Lighting Panel and Installation, 72 CCT | 1 | ea
| 480V MCC Fused Disconnect + Feeder to new DP | 1 | allow
| 208V, 3P feeder breaker and feeder to new LP | 1 | allow
| 1x4' LED strip lighting and installation | 8 | ea
| nPODMA LED dimmer and installation | 2 | ea
| GFCI Convience Receptacles, 20A 1P breakers, wiring, install | 6 | ea
Women's Washroom RM203 & Stairwell No. 1 - Loop 4 | Force Flow - FF-3.X, 1P breaker, wiring, installation | 1 | ea
Rooms 201, 202, 203A - Loop 4 | EF-6, 1P breaker, wiring, installation | 1 | ea
Men's Washroom RM206 - Loop 4 | Force Flow - FF-X, 1P breaker, wiring, installation | 2 | ea
| UH-X, 1P breaker, wiring, installation | 2 | ea
Lunch Room RM208 & Stairwell No. 3 - Loop 4 | Fan coil, 3P, breaker, wiring, installation | 1 | ea
| Force Flow - FF-X, 1P breaker, wiring, installation | 1 | ea
| AC-1.X, 2P breaker, wiring, installation, disconnect | 4 | ea
Car Repair Area RM101 - Loop 5 | UH-X, 1P breaker, wiring, installation | 12 | ea
27 | Communications |  |  |  | 0
28 | Electronic Safety and Security |  |  |  | 0
31 | Earthwork |  |  |  | 0
32 | Exterior Improvements |  |  |  | 0
33 | Utilities |  |  |  | 0
34 | Cash Allowances |  |  |  | 0
Men's Washroom RM 206 | Ceiling Retrofit and LED upgrade |  |  |  | 40000
Women's Washroom RM 203 | Interior upgrade |  |  |  | 60000
Main floor offices | Ceiling Retrofit and LED upgrade |  |  |  | 50000
Kitchenette and Washroom RM 201 and RM 202 | Interior upgrade |  |  |  | 100000
Track 4 | Make Up Air Unit | 1 | Allow |  | 240000
| Fire Separation |  |  |  | 50000
Car Shop HVAC Upgrade Subtotal |  |  |  |  | 540000
35 | Battery Storage and Maintenance Building |  |  |  | 20000
Code Compliance and Design
Building structure, panels, and insulation
Fresh water line, plumbing, emergency shower station
In floor spill containment
Battery Wash Station
Jib Crane
Roll up door and man door
Concrete apron at roll up doors
Fire protection if required by code
Charging Station with hood
Excavation and site grading
Concrete slab
Heating
Electrical and lighting
Racking
Other Costs
Cash Allowance | Fibre and network hardware and connections |  |  |  | 20000
Project Total (Excluding HST) |  |  |  |  | 560000
Optional Price | cost difference
Scope of Work Section 1.7.2 Provide Epoxy flooring finish instead of vinyl (RM 108A, 117, 108B, 111A, 111B, 112A, 112B, 113A, 150, 151, 152)